I think these are the motors:

<https://www.maxonmotorusa.com/maxon/view/product/motor/dcmotor/re/re25/118746>

the attached doc is what the motor driver gets about it. Here a snip of it:

[Motor Parameters Section]

Motor\_Manufacturer=Maxon

Motor\_Model=RE25 118746

Motor\_Back\_EMF\_Constant=4.60799980163574

Motor\_Torque\_Constant=0.0430000014603138

Motor\_resistance=7.73000001907349

Motor\_Inductance=0.832000017166138

Motor\_Thermal\_Constant=1

Motor\_Maximum\_Current=3.09999990463257

Motor\_Maximum\_Speed=5190

Motor\_Maximum\_Current\_At\_Maximum\_Velocity=1

Motor\_Continuous\_Rated\_Current=0.899999976158142

Motor\_Feedback\_Model=120° Halls, 1000 Line Encoder

Motor\_Number\_of\_Poles=4

Motor\_Hall\_Phasing=120

Motor\_Phase\_Pair=A and B

Motor\_Back\_EMF\_Constant\_Units=V/Krpm

Motor\_Power=750